## Tier 1 GB-1
[6 empty] | Plan Sheet, Spec or Attachment Reference | Compliance Path Verification | [13 empty] | Plan Sheet, Spec or Attachment Reference | Compliance Path Verification
[7 empty] | Plan Check |  | Rough GB Inspection IVR # 152 |  | Final Inspection IVR # 153 | [10 empty] | Plan Check |  | Rough GB Inspection IVR # 152 |  | Final Inspection IVR # 153
[11 empty] | Part 1 | Part 1 | Part 2 | Part 2 | [11 empty] | Part 1 | Part 1 | Part 2 | Part 2 |  |  | Project Address: 2022 NONRESIDENTIAL CHECKLIST - CALGREEN MANDATORY + TIER 1
5.1 Planning and Design |  |  | Code Section | Y | N |  | CORR | INITIAL | CORR | INITIAL | CORR | INITIAL | CORR | INITIAL | 5.4 Material Conservation and Resource Efficiency, continued |  |  | Code Section | Y | N |  | CORR | INITIAL | CORR | INITIAL | CORR | INITIAL | CORR | INITIAL
Mandatory | Mandatory | Storm water pollution prevention for projects that disturb < 1 acre of Land | PAMC 16.14.290/ 5.106.1 |  |  |  | □ | [7 empty] | Electives (choose 1) | Electives | Wood Framing: Structural or fire-resistance integrity | A5.404.1.1 |  |  |  | □ |  |  |  | □
| Mandatory | Local storm water pollution prevention | PAMC 16.14.290/ 5.106.1.1 |  |  |  | □ | [8 empty] | Electives | Wood Framing: Framing specifications | A5.404.1.2 |  |  |  | □ |  |  |  | □
| Mandatory | Best management practices | 5.106.1.2 |  |  |  | □ | [8 empty] | Electives | Regional materials | A5.405.1 |  |  |  | □ |  |  |  | □
| Mandatory | Short term bicycle parking | 5.106.4.1.1 |  |  |  | □ |  |  |  | □ |  | □ |  |  | Electives | Bio-based materials: Rapidly renewable materials | A5.405.2.2 |  |  |  | □
| Mandatory | Long term bicycle parking | 5.106.4.1.2 |  |  |  | □ |  |  |  | □ |  | □ |  |  | Electives | Reused materials (5% of total value) | A5.405.3 |  |  |  | □
| Tier 1 Mand. | Designated parking - 35% of Parking Capacity | A5.106.5.1.1 |  |  |  | □ |  |  |  | □ |  | □ |  |  | Electives | Cement and concrete: Concrete | A5.405.5.2 |  |  |  | □
| Mandatory | Light pollution reduction | PAMC 16.14.295/5.106.8 |  |  |  | □ |  |  |  | □ |  | □ |  |  | Electives | Additional means of compliance- Cement: Alternative fuels | A5.405.5.3.1.1 |  |  |  | □
| Mandatory | Grading and paving (exception for additions and alterations not altering the drainage path) | 5.106.10 |  |  |  | □ |  |  | PW | [5 empty] | Electives | Additional means of compliance- Cement: Alternative power | A5.405.5.3.1.2 |  |  |  | □
| Tier 1 Mand. | Cool roof for reduction of heat island effect | PAMC 16.16.070 & 16.14.080/ A5.106.11.2 |  |  |  | □ |  |  |  | □ |  |  |  |  | Electives | Additional means of compliance- Concrete: Alternative energy | A5.405.5.3.2.1 |  |  |  | □
Electives (choose 1) | Electives | Community connectivity | A5.103.1 |  |  |  | □ | [8 empty] | Electives | Additional means of compliance- Concrete: Recycled aggregate | A5.405.5.3.2.2 |  |  |  | □
| Electives | Brownfield or greyfield site redevelopment or infill area development | A5.103.2 |  |  |  | □ | [8 empty] | Electives | Additional means of compliance- Concrete: Mixing water | A5.405.5.3.2.3 |  |  |  | □
| Electives | Reduce development footprint and optimize open space | A5.104.1 |  |  |  | □ | [8 empty] | Electives | Additional means of compliance- Concrete: High strength concrete | A5.405.5.3.2.4 |  |  |  | □
| Electives | Existing building structure (75%) | A5.105.1.1 |  |  |  | □ | [8 empty] | Electives | Choice of materials: Service life | A5.406.1.1 |  |  |  | □
| Electives | Existing non structure elements (50%) | A5.105.1.2 |  |  |  | □ | [8 empty] | Electives | Choice of materials: Reduced maintenance | A5.406.1.2 |  |  |  | □ |  |  |  | □
| Electives | Salvage | A5.105.1.3 |  |  |  | □ | [8 empty] | Electives | Choice of materials: Recyclability | A5.406.1.3 |  |  |  | □ |  |  |  | □
| Electives | Storm water design | A5.106.2 |  |  |  | □ | [8 empty] | Electives | Life Cycle Assessment shall be ISO 14044 compliant | A5.409.1 |  |  |  | □ |  |  |  | □
| Electives | Low impact development (LID) | A5.106.3 |  |  |  | □ | [8 empty] | Electives | Whole building life cycle assessment | A5.409.2 |  |  |  | □ |  |  |  | □
| Electives | Greyfield or infill site | A5.106.3.2 |  |  |  | □ | [8 empty] | Electives | Materials and system assemblies | A5.409.3 |  |  |  | □ |  |  |  | □
| Electives | Changing rooms | A5.106.4.3 |  |  |  | □ | [8 empty] | Electives | Substitution of prescriptive standards | A5.409.4 |  |  |  | □ |  |  |  | □
| Electives | Parking capacity | A5.106.6 |  |  |  | □ | [7 empty] | 5.5 Environmental Quality
| Electives | Reduce parking capacity | A5.106.6.1 |  |  |  | □ | [7 empty] | Mandatory | Mandatory | Fireplaces | 5.503.1 |  |  |  | □ |  |  |  | □ |  | □
| Electives | Exterior wall shading: Fenestration- East and west walls | A5.106.7.1.1 |  |  |  | □ | [8 empty] | Mandatory | Temporary ventilation (MERV 8) | 5.504.1 |  |  |  | □ |  | □ |  | □
| Electives | Exterior wall shading: Fenestration- South walls | A5.106.7.1.2 |  |  |  | □ | [8 empty] | Mandatory | Covering of duct openings and protection of mechanical equipment during construction | 5.504.3 |  |  |  | □ |  | □ |  | □
| Electives | Exterior wall shading: Opaque wall areas | A5.106.7.2 |  |  |  | □ | [8 empty] | Mandatory | Adhesives, sealants and caulks: Comply with VOC limits (Table 5.504.4.1 & 5.504.4.2 for VOC limits) | 5.504.4.1 |  |  |  | □ |  |  |  | □
| Electives | Heat island effect: Hardscape alternatives | A5.106.11.1 |  |  |  | □ | [8 empty] | Mandatory | Paints and Coatings: Comply with VOC Limits (Table 5.504.4.3) | 5.504.4.3 |  |  |  | □ |  |  |  | □
5.3 Water Efficiency and Conservation | [15 empty] | Mandatory | Carpet systems: Carpet cushion | 5.504.4.4.1 |  |  |  | □ |  |  |  | □
Mandatory | Mandatory | Meters, separate submeters or metering devices shall be installed as follows: | 5.303.1 |  |  |  | □ |  | □ | [6 empty] | Mandatory | Carpet systems: Carpet adhesive (Table 5.504.4.1 for VOC limits) | 5.504.4.4.2 |  |  |  | □ |  |  |  | □
|  | New buildings or additions in excess of 50,000 square feet | 5.303.1.1 |  |  |  | □ |  | □ | [6 empty] | Mandatory | Composite wood products: Formaldehyde limits (Table 5.504.4.5) | 5.504.4.5 |  |  |  | □ |  |  |  | □
|  | Excess consumption (Submeters for additions that consume over 1,000 gal/ day) | 5.303.1.2 |  |  |  | □ |  | □ | [6 empty] | Mandatory | Composite wood products: Documentation | 5.504.4.5.3 |  |  |  | □ |  |  |  | □
| Tier 1 Mand. | Water Reduction - 12% (Table A5.303.2.3.1) | A5.303.2.3.1 |  |  |  | □ |  |  |  | □ |  | □ |  |  | Mandatory | Verification of compliance, for resilient flooring systems | 5.504.4.6.1 |  |  |  | □ |  |  |  | □
| Mandatory | Indoor Water Use: Water closets (1.28 gpf) | 5.303.3.1 |  |  |  | □ |  |  |  | □ |  | □ |  |  | Tier 1 Mand. | Resilient flooring system - 90% | PAMC 16.16.070 & 16.14.080/ A5.504.4.7 |  |  |  | □ |  |  |  | □
| Mandatory | Indoor Water Use: Wall-mounted urinals (0.125gpf) | 5.303.3.2.1 |  |  |  | □ |  |  |  | □ |  | □ |  |  | Tier 1 Mand. | Thermal Insulation - Tier 1 requirement | PAMC 16.16.070 & 16.14.080/ A5.504.4.8 |  |  |  | □ |  |  |  | □
| Mandatory | Indoor Water Use: Floor-mounted urinals ( 0.5 gpf) | 5.303.3.2.2 |  |  |  | □ |  |  |  | □ |  | □ |  |  | Mandatory | Filters: Labeling (MERV 13, with exceptions) | 5.504.5.3 |  |  |  | □ |  |  |  | □
| Mandatory | Indoor Water Use: Single showerhead (1.8 gpm at 80 psi) | 5.303.3.3.1 |  |  |  | □ |  |  |  | □ |  | □ |  |  | Mandatory | Environmental tobacco smoke (ETS) control | 5.504.7 |  |  |  | □
| Mandatory | Indoor Water Use: Multiple showerheads serving one shower (1.8 gpm at 80 psi) | 5.303.3.3.2 |  |  |  | □ |  |  |  | □ |  | □ |  |  | Mandatory | Indoor moisture control | 5.505.1 |  |  |  | □
| Mandatory | Indoor Water Use: Nonresidential lavatory faucets (0.5 gpm at 60 psi) | 5.303.3.4.1 |  |  |  | □ |  |  |  | □ |  | □ |  |  | Mandatory | Outside air delivery (For Indoor Air Quality) | 5.506.1 |  |  |  | □ |  |  |  | □
| Mandatory | Indoor Water Use: Kitchen faucets (1.8 gpm at 60 psi) | 5.303.3.4.2 |  |  |  | □ |  |  |  | □ |  | □ |  |  | Mandatory | Carbon dioxide (CO2) monitoring (For Indoor Air Quality) | 5.506.2 |  |  |  | □ |  |  |  | □ |  | □
| Mandatory | Indoor Water Use: Wash fountains (1.8 gpm at 60 psi) | 5.303.3.4.3 |  |  |  | □ |  |  |  | □ |  | □ |  |  | Mandatory | Indoor Air Quality Management Plan (locally amended) | PAMC 16.14.390/5.506 |  |  |  | □ |  |  |  | □ |  | □
| Mandatory | Indoor Water Use: Metering faucets (0.2 gallons/cycle) | 5.303.3.4.4 |  |  |  | □ |  |  |  | □ |  | □ |  |  | Mandatory | Acoustical control (STC Values per ASTM E90 and ASTM E413) | 5.507.4 |  |  |  | □
| Mandatory | Indoor Water Use: Metering faucets for wash fountains (0.2 gallons/cycle) | 5.303.3.4.5 |  |  |  | □ |  |  |  | □ |  | □ |  |  | Mandatory | Exterior noise transmission, prescriptive method (with exceptions) | 5.507.4.1 |  |  |  | □
| Mandatory | Commercial kitchen equipment | 5.303.4 |  |  |  | □ |  |  |  | □ |  | □ |  |  | Mandatory | Noise exposure where noise contours are not readily available | 5.507.4.1.1 |  |  |  | □
| Mandatory | Food waste disposers | 5.303.4.1 |  |  |  | □ |  |  |  | □ |  | □ |  |  | Mandatory | Exterior noise transmission, performance method | 5.507.4.2 |  |  |  | □
| Mandatory | Indoor water use: Areas of addition or alteration | 5.303.5 |  |  |  | □ |  |  |  | □ |  | □ |  |  | Mandatory | Site features | 5.507.4.2.1 |  |  |  | □
| Mandatory | Dual plumbing (locally amended) | PAMC 16.12.035 |  |  |  | □ |  |  |  | □ |  | □ |  |  | Mandatory | Documentation of compliance | 5.507.4.2.2 |  |  |  | □
| Mandatory | Indoor Water Use: Standards for plumbing fixtures and fittings (2022 CA Plumbing Code) | 5.303.6 |  |  |  | □ |  |  |  | □ |  | □ |  |  | Mandatory | Interior sound transmission (with note) | 5.507.4.3 |  |  |  | □
| Mandatory | Outdoor potable water use in landscape areas (MWELO) | 5.304.1 |  |  |  | □ |  |  |  | □ |  | □ |  |  | Mandatory | Ozone depletion and greenhouse gas reductions | 5.508.1 |  |  |  | □
| Mandatory | Invasive species prohibited | PAMC 16.14.330 Section 5.304.2 |  |  |  | □ |  |  |  | □ |  | □ |  |  | Mandatory | Chlorofluorocarbons (CFC's) | 5.508.1.1 |  |  |  | □
| Mandatory | Non-residential enhanced water budget | PAMC 16.14.340 Section 5.306 |  |  |  | □ |  |  |  | □ |  | □ |  |  | Mandatory | Halons | 5.508.1.2 |  |  |  | □
| Mandatory | Cooling Tower Water Use (locally amended) | PAMC 16.14.350 Section 5.307 | [12 empty] | Mandatory | Supermarket refrigerant leak reduction | 5.508.2 |  |  |  | □ |  |  |  | □
Electives (1) | Electives | Water reduction - 25% | A5.303.2.3.3 |  |  |  | □ |  |  |  | □ |  | □ |  |  | Mandatory | Refrigerant piping | 5.508.2.1 |  |  |  | □ |  |  |  | □
| Electives | Nonpotable water systems for indoor water use | A5.303.2.3.4 |  |  |  | □ |  |  |  | □ |  | □ |  |  | Mandatory | Refrigerant piping valves | 5.508.2.2 |  |  |  | □ |  |  |  | □
| Electives | Appliances and fixtures for commercial application | A5.303.3 |  |  |  | □ |  |  |  | □ |  | □ |  |  | Mandatory | Refrigerant piping access valves | 5.508.2.2.2 |  |  |  | □ |  |  |  | □
| Electives | Nonwater supplied urinals | A5.303.4.1 |  |  |  | □ |  |  |  | □ |  | □ |  |  | Mandatory | Refrigerated service cases | 5.508.2.3 |  |  |  | □ |  |  |  | □
| Electives | Outdoor Water Use: Restore all landscape disturbed during construction | A5.304.6 |  |  |  | □ |  |  |  | □ |  | □ |  |  | Mandatory | Refrigerant receivers | 5.508.2.4 |  |  |  | □ |  |  |  | □
| Electives | Outdoor Water Use: Previously developed sites: restore or protect 50 % of site area | A5.304.7 |  |  |  | □ |  |  |  | □ |  | □ |  |  | Mandatory | Pressure testing | 5.508.2.5 |  |  |  | □ |  |  |  | □
| Electives | Outdoor Water Use: Graywater irrigation system | A5.304.8 |  |  |  | □ |  |  |  | □ |  | □ |  |  | Mandatory | Evacuation after pressure testing | 5.508.2.6 |  |  |  | □ |  |  |  | □
| Electives | Nonpotable water systems | A5.305.1 |  |  |  | □ |  |  |  | □ |  | □ |  |  | Electives | Indoor air quality (IAQ) during construction: Temporary ventilation | A5.504.1.1 |  |  |  | □ |  | □
| Electives | Irrigation system: Recycled water | A5.305.2 |  |  |  | □ |  |  |  | □ |  | □ |  | Electives (Choose 1) | Electives | Indoor air quality (IAQ) during constructions: Additional IAQ measures | A5.504.1.2 |  |  |  | □ |  | □
5.4 Material Conservation and Resource Efficiency | [15 empty] | Electives | IAQ postconstruction | A5.504.2 |  |  |  | □ |  |  |  | □
Mandatory | Mandatory | Weather protection | 5.407.1 |  |  |  | □ | [5 empty] | □ |  |  | Electives | Noncomplying building areas | A5.504.2.1.3 |  |  |  | □ |  |  |  | □
| Mandatory | Moisture control: Exterior door protection | 5.407.2.2.1 |  |  |  | □ | [5 empty] | □ |  |  | Electives | Composite wood products: No added formaldehyde | A5.504.4.5.1 |  |  |  | □ |  |  |  | □
| Mandatory | Moisture control: Flashing | 5.407.2.2.2 |  |  |  | □ | [5 empty] | □ |  |  | Electives | Entryway systems | A5.504.5.1 |  |  |  | □ |  |  |  | □
| Mandatory | Construction waste management | 5.408.1 |  |  |  | □ | [8 empty] | Electives | Acoustical ceiling and wall panels | A5.504.4.9 |  |  |  | □ |  |  |  | □
| Mandatory | Construction waste management plan | 5.408.1.1 |  |  |  | □ | [8 empty] | Electives | Isolation of pollutant sources (to control pollutants) | A5.504.5.2 |  |  |  | □
| Mandatory | Waste management company | 5.408.1.2 |  |  |  | □ | [8 empty] | Electives | Lighting and thermal comfort controls: Single occupant spaces- Lighting and Thermal Comfort | A5.507.1.1.1/ A5.507.1.2 |  |  |  | □
| Mandatory | Waste stream reduction alternative | 5.408.1.3 |  |  |  | □ | [8 empty] | Electives | Lighting and thermal comfort controls: Multi-occupant spaces | A5.507.1.2 |  |  |  | □
| Mandatory | Documentation- Construction waste management plan, waste management company, waste stream reduction alternative | 5.408.1.4 |  |  |  | □ | [8 empty] | Electives | Daylight: Toplighting and sidelighting | A5.507.2 |  |  |  | □
| Mandatory | Universal Waste [AA] | 5.408.2 | [12 empty] | Electives | Views: Interior office spaces | A5.507.3.1 |  |  |  | □
| Mandatory | Excavated soil and land clearing debris (100% reuse or recycle) | 5.408.3 |  |  |  | □ | [8 empty] | Electives | Views- Multi-occupant spaces | A5.507.3.2 |  |  |  | □
| Tier 1 Mand. | Enhanced construction waste reduction (80% Diversion w/ job valuation >$25,000, less than $25,000 must meet state standards of 65%) | PAMC 16.14.410/ A5.408.3.1 |  |  |  | See www.greenhalosystems.com | [8 empty] | Electives | Hydro-chlorofluorocarbons (HCFCs) (for HVAC and refrigeration equipment) | A5.508.1.3 |  |  |  | □
| Mandatory | Recycling by occupants (with exceptions) | 5.410.1 |  |  |  | □ | [8 empty] | Electives | Hydro-fluorocarbons (HFCs) (for HVAC, refrigeration and fire suppression equipment) | A5.508.1.4 |  |  |  | □
| Mandatory | Recycling by occupants: Additions (with exceptions) | 5.410.1.1 |  |  |  | □ | [7 empty] | Required Additional Electives (Choose 1 additional Elective from any category)
| Mandatory | Testing and adjusting for new buildings < 10,000 SF or new systems that serve additions or alterations [N] [AA] | 5.410.4 |  |  |  | □ |  |  |  | □ |  |  |  | Mand. | Tier 1 Mand. |  | A5.601.2.4 |  |  |  | □
| Mandatory | Testing and adjusting for systems: Renewable energy, landscape irrigation, and water reuse | 5.410.4.2 |  |  |  | □ |  |  |  | □
| Mandatory | Testing and adjusting: Procedures | 5.410.4.3 |  |  |  | □ |  |  |  | □
| Mandatory | Testing and adjusting: HVAC balancing | 5.410.4.3.1 |  |  |  | □ |  |  |  | □
| Mandatory | Testing, adjusting and balancing: Reporting for HVAC balancing | 5.410.4.4 |  |  |  | □ |  |  |  | □
| Mandatory | Operation and maintenance (O&M) manual | 5.410.4.5 |  |  |  | □ |  |  |  | □
| Mandatory | Inspection and reports | 5.410.4.5.1 |  |  |  | □ |  |  |  | □
| Mandatory | ENERGY STAR Portfolio Manager profile setup (for projects exceeding $100,000 in value) | PAMC 16.14.360/ 5.410.4.6 |  |  |  | □ |  |  |  | □
| Mandatory | Performance Review - Energy (For projects over 10,000 SF) | PAMC 16.14.370/ 5.410.4.7 |  |  |  | □ |  |  |  | □
| Mandatory | Performance reviews - Water (sites > 1 acre) | PAMC 16.14.380/ 5.410.4.8 |  |  |  | □ |  |  |  | □
| Tier 1 Mand. | Recycled content of the total material cost: 10% | PAMC 16.14.070 & 16.14.080/ A5.405.4 |  |  |  | □ |  |  |  | □
CITY STAMPS ONLY
[31 empty] | 2022 NONRESIDENTIAL GREEN BUILDING APPLICATION CALGREEN MANDATORY+ TIER 1 | GB-1
[19 empty] | Application: This plan sheet is for use by nonresidential alterations (including tenant improvements or renovations) of 5,000 SF that include replacement of at least two of the following: HVAC system, building envelope, hot water system, or lighting system. | [12 empty] | Mandatory
|  |  |  | Title 24, Part 11, California Green Building Code (CALGreen) |  | https://www.dgs.ca.gov/BSC/CALGreen | [25 empty] | +Tier 1
|  |  |  | City of Palo Alto Green Building Program and Resources |  | https://www.cityofpaloalto.org/Departments/Planning-Development-Services/Development-Services/Green-Building/Compliance
|  |  |  | City of Palo Alto Green Building Ordinance 5570 (PAMC 16.14 Amendments) |  | https://codelibrary.amlegal.com/codes/paloalto/latest/paloalto_ca/0-0-0-72369
The Green Building Survey is a required project submittal. The survey can be found at the following link. The online survey shall be completed and a Green Building Survey Report will be sent in an email. Include a copy of the survey report on a separate page in this plan set. Please indicate the reference page here _____________________.
Legend:
Y - Yes; the measure is in the scope of work
N - No; the measure is not in the scope of work
PAMC - Palo Alto Municipal Code; locally amended
[N] - New Construction
[MF] - Multi-family dwellings
[AA] - Additions and alterations
[HR] - High-rise building
SECTION TO BE COMPLETED AFTER CONSTRUCTION
In order to schedule a final building inspection with the Building Department, follow the procedures below.
  Schedule a two-part Final Green Building Inspection with the City Green Building Personnel in accordance with the Palo Alto Non-Residential Green Building Inspection Guideline.
  At Part 1 of the Final Green Building Inspection prepare all submittals and supporting documentation for the items identified with an "X" under the "Y" column of this sheet in accordance with the Green Building Inspection Guideline.
  At Part 2 of the Final Green Building Inspection prepare for a field inspection for the items identified with an "X" under the "Y" column of this sheet in accordance with the Green Building Inspection Guideline.
I certify that:
  There have been no alterations that have impacted the energy report for the project, unless the new report is provided.
  All mandatory CALGreen measures and required electives noted in the checklist have been implemented, unless a new checklist is provided along with support for alternative electives claimed.
  Within six months (6) from the date of final inspection I will provide the City with the project's Commissioning Report (only required for new projects over 10,000 SF) and execute compliance with landscaping measures, unless completed at the time of final inspection.
_______________________________________________
Signature (Green Building Special Inspector)
Sign only after project is complete
_______________________________________________
Print Name
_______________________________________________
Date
Special Inspector Acknowledgement
The project will be verified by a
COMMERCIAL GREEN BUILDING SPECIAL INSPECTOR
I have reviewed the project plans and specifications, and they are in conformance with the CALGreen mandatory and elective measures claimed. I have reviewed and understand the after-construction requirements below.
_______________________________________________
Signature (Green Building Special Inspector)
_______________________________________________
Print Name
_______________________________________________
Phone or Email
_______________________________________________
Date
The ENERGY STAR Portfolio Manager profile is a required project submittal and can be created at the following link. The Portfolio Manager profile shall be opened and a screenshot shall be included on a separate page in this plan set. Please indicate the reference page here __________.
For more information on energy benchmarking, please visit City of Palo Alto Utilities "Benchmarking Your Building" webpage here.