## Tier 2 GB-1
[6 empty] | Plan Sheet, Spec or Attachment Reference | Compliance Path Verification | [13 empty] | Plan Sheet, Spec or Attachment Reference | Compliance Path Verification
[7 empty] | Plan Check |  | Rough GB Inspection IVR # 152 |  | Final Inspection IVR # 153 | [10 empty] | Plan Check |  | Rough GB Inspection IVR # 152 |  | Final Inspection IVR # 153 | [5 empty] | Project Address: 2022 NONRESIDENTIAL CHECKLIST - CALGREEN MANDATORY + TIER 2
[11 empty] | Part 1 | Part 1 | Part 2 | Part 2 | [11 empty] | Part 1 | Part 1 | Part 2 | Part 2
5.1 Planning and Design |  |  | Code Section | Y | N |  | CORR | INITIAL | CORR | INITIAL | CORR | INITIAL | CORR | INITIAL | 5.4 Material Conservation and Resource Efficiency, continued |  |  | Code Section | Y | N |  | CORR | INITIAL | CORR | INITIAL | CORR | INITIAL | CORR | INITIAL
Mandatory | Mandatory | Stormwater pollution prevention for projects that disturb < 1 acre of land | PAMC 16.14.290/ 5.106.1 |  |  |  | □ | [7 empty] | Electives (choose 3) | Electives | Wood Framing: Structural or fire-resistance integrity | A5.404.1.1 |  |  |  | □ |  |  |  | □
| Mandatory | Stormwater pollution prevention for projects that disturb 1 or more acres of land | PAMC 16.14.290/ 5.106.2 | [12 empty] | Electives | Wood Framing: Framing specifications | A5.404.1.2 |  |  |  | □ |  |  |  | □
| Mandatory | Local storm water pollution prevention | PAMC 16.14.290/ 5.106.1.1 |  |  |  | □ | [8 empty] | Electives | Regional materials | A5.405.1 |  |  |  | □ |  |  |  | □
| Mandatory | Best management practices (BMP's) | 5.106.1.2 |  |  |  | □ | [8 empty] | Electives | Bio-based materials: Rapidly renewable materials | A5.405.2.2 |  |  |  | □
| Mandatory | Bicycle parking for additions or change of use that results in increased parking | PAMC 18.54.060/ 5.106.4 | [12 empty] | Electives | Reused materials | A5.405.3 |  |  |  | □
| Mandatory | Short term bicycle parking (exception for additions or alterations which add nine or less visitor vehicular parking spaces) | PAMC 18.54.060/ 5.106.4.1.1 |  |  |  | □ |  |  |  | □ |  | □ |  |  | Electives | Alternate method for concrete | A5.405.4.5
| Mandatory | Long term bicycle parking | PAMC 18.54.060/ 5.106.4.1.2 |  |  |  | □ |  |  |  | □ |  | □ |  |  | Electives | Cement and concrete: Cement | A5.405.5.1 |  |  |  | □
| Tier 2 Mand. | Designated parking - 50% of Parking Capacity | A5.106.5.1.2 | [7 empty] | □ |  | □ |  |  | Electives | Cement and concrete: Concrete | A5.405.5.2 |  |  |  | □
| Tier 2 Mand. | Electric Vehicle (EV) Charging for Non-Residential Structures (EVSE) with 10-20 spaces shall provide 20% EV Capable or EVSE-Ready and 20% Level 2 EVSE Installed. (Buildings w/ more than 20 spaces shall provide 15% EV Capable or EVSE-Ready and 15% EVSE Installed). | PAMC 16.14.430/ A5.106.5.3 |  |  |  | □ |  | See EVSE Checklist | [6 empty] | Electives | Additional means of compliance- Cement: Alternative fuels | A5.405.5.3.1.1 |  |  |  | □
[16 empty] | Electives | Additional means of compliance- Cement: Alternative power | A5.405.5.3.1.2 |  |  |  | □
| Mandatory | Electric vehicle (EV) charging: medium-duty and heavy-duty (grocery stores, retail and warehouse buildings with planned off -street loading spaces) [N] | 5.106.5.4 |  |  |  | □ |  |  |  | □ |  | □ |  |  | Electives | Additional means of compliance- Concrete: Alternative energy | A5.405.5.3.2.1 |  |  |  | □
| Mandatory | Light pollution reduction | PAMC 16.14.295/5.106.8 |  |  |  | □ |  |  |  | □ |  | □ |  |  | Electives | Additional means of compliance- Concrete: Recycled aggregate | A5.405.5.3.2.2 |  |  |  | □
| Mandatory | Grading and paving (exception for additions and alterations not altering the drainage path) | 5.106.10 |  |  |  | □ |  | PW | [6 empty] | Electives | Additional means of compliance- Concrete: Mixing water | A5.405.5.3.2.3 |  |  |  | □
| Tier 2 Mand. | Cool roof for reduction of heat island effect | PAMC 16.16.070 & 16.14.080/ A5.106.11.2 |  |  |  | □ |  |  |  | □ |  |  |  |  | Electives | Additional means of compliance- Concrete: High strength concrete | A5.405.5.3.2.4 |  |  |  | □
Electives (choose 3) | Electives | Community connectivity | A5.103.1 |  |  |  | □ | [8 empty] | Electives | Choice of materials: Service life | A5.406.1.1 |  |  |  | □
| Electives | Brownfield or greyfield site redevelopment or infill area development | A5.103.2 |  |  |  | □ | [8 empty] | Electives | Choice of materials: Reduced maintenance | A5.406.1.2 |  |  |  | □ |  |  |  | □
| Electives | Reduce development footprint and optimize open space | A5.104.1 |  |  |  | □ | [8 empty] | Electives | Choice of materials: Recyclability | A5.406.1.3 |  |  |  | □ |  |  |  | □
| Electives | Existing building structure (75%) | A5.105.1.1 |  |  |  | □ | [8 empty] | Electives | Life Cycle Assessment shall be ISO 14044 compliant | A5.409.1 |  |  |  | □ |  |  |  | □
| Electives | Existing non-structure elements (50%) | A5.105.1.2 |  |  |  | □ | [8 empty] | Electives | Whole building life cycle assessment | A5.409.2 |  |  |  | □ |  |  |  | □
| Electives | Salvage | A5.105.1.3 |  |  |  | □ | [8 empty] | Electives | Materials and system assemblies | A5.409.3 |  |  |  | □ |  |  |  | □
| Electives | Storm water design | A5.106.2 |  |  |  | □ | [8 empty] | Electives | Substitution of prescriptive standards | A5.409.4 |  |  |  | □ |  |  |  | □
| Electives | Low impact development (LID) | A5.106.3 |  |  |  | □ | [7 empty] | 5.5 Environmental Quality
| Electives | Greyfield or infill site | A5.106.3.2 |  |  |  | □ | [7 empty] | Mandatory | Mandatory | Fireplaces | 5.503.1 |  |  |  | □ |  |  |  | □ |  | □
| Electives | Changing rooms | A5.106.4.3 |  |  |  | □ | [8 empty] | Mandatory | Temporary ventilation (MERV 8) | 5.504.1 |  |  |  | □ |  | □ |  | □
| Electives | Parking capacity | A5.106.6 |  |  |  | □ | [8 empty] | Mandatory | Covering of duct openings and protection of mechanical equipment during construction | 5.504.3 |  |  |  | □ |  | □ |  | □
| Electives | Reduce parking capacity | A5.106.6.1 |  |  |  | □ | [8 empty] | Mandatory | Adhesives, sealants and caulks: Comply with VOC limits (Table 5.504.4.1 and 5.504.4.2 for VOC limits) | 5.504.4.1 |  |  |  | □ |  |  |  | □
| Electives | Exterior wall shading: Fenestration- East and west walls | A5.106.7.1.1 |  |  |  | □ | [8 empty] | Mandatory | Paints and Coatings: Comply with VOC Limits (Table 5.504.4.3) | 5.504.4.3
| Electives | Exterior wall shading: Fenestration- South walls | A5.106.7.1.2 |  |  |  | □ | [8 empty] | Mandatory | Aerosol paints and coatings | 5.504.4.3.1 |  |  |  | □ |  |  |  | □
| Electives | Exterior wall shading: Opaque wall areas | A5.106.7.2 |  |  |  | □ | [8 empty] | Mandatory | Verification, for paints and coatings | 5.504.4.3.2 |  |  |  | □ |  |  |  | □
| Electives | Heat island effect: Hardscape alternatives and cool roof reduction | A5.106.11 |  |  |  | □ | [8 empty] | Mandatory | Carpet Systems | 5.504.4.4
5.3 Water Efficiency and Conservation | [15 empty] | Mandatory | Carpet systems: Carpet cushion | 5.504.4.4.1
Mandatory | Mandatory | Meters, separate submeters or metering devices installed as follows: | 5.303.1 |  |  |  | □ |  | □ | [6 empty] | Mandatory | Carpet systems: Carpet adhesive (Table 5.504.4.1 for VOC limits) | 5.504.4.4.2
| Mandatory | New buildings or additions in excess of 50,000 square feet | 5.303.1.1 |  |  |  | □ |  | □ | [6 empty] | Mandatory | Composite wood products: Formaldehyde limits (Table 5.504.4.5) | 5.504.4.5
| Mandatory | Excess consumption (Submeters for additions that consume over 1,000 gal/ day) | 5.303.1.2 |  |  |  | □ |  | □ | [6 empty] | Mandatory | Composite wood products: Documentation | 5.504.4.5.3
| Tier 2 Mand. | Water Reduction- 20% savings over the "water use baseline" Table A5.303.2.3.1 | A5.303.2.3.2 |  |  |  | □ |  | □ | [6 empty] | Mandatory | Verification of compliance, for resilient flooring systems | 5.504.4.6.1
| Mandatory | Indoor Water Use: Water closets (shall not exceed 1.28 gallons per flush) | 5.303.3.1 |  |  |  | □ |  |  |  | □ |  | □ |  |  | Tier 2 Mand. | Resilient flooring system, 100% | PAMC 16.16.070 & 16.14.080/ A5.504.4.7.1
| Mandatory | Indoor Water Use: Wall-mounted urinals (0.125gpf) | 5.303.3.2.1 |  |  |  | □ |  |  |  | □ |  | □ |  |  | Tier 2 Mand. | Thermal Insulation: No added formaldehyde | PAMC 16.16.070 & 16.14.080/ A5.504.4.8.1 |  |  |  | □ |  |  |  | □
| Mandatory | Indoor Water Use: Floor-mounted urinals ( 0.5 gpf) | 5.303.3.2.2 |  |  |  | □ |  |  |  | □ |  | □ |  |  | Mandatory | Environmental tobacco smoke (ETS) control | 5.504.7 |  |  |  | □
| Mandatory | Indoor Water Use: Single showerhead ( 1.8 gpm at 80 psi) | 5.303.3.3.1 |  |  |  | □ |  |  |  | □ |  | □ |  |  | Mandatory | Outside air delivery (For Indoor Air Quality) | 5.506.1
| Mandatory | Indoor Water Use: Multiple showerheads serving one shower ( flow rate of 1.8 gpm at 80 psi) | 5.303.3.3.2 |  |  |  | □ |  |  |  | □ |  | □ |  |  | Mandatory | Carbon dioxide (CO2) monitoring (For Indoor Air Quality) | 5.506.2 |  |  |  | □ |  |  |  | □ |  | □
| Mandatory | Indoor Water Use: Nonresidential lavatory faucets (0.5 gpm at 60 psi) | 5.303.3.4.1 |  |  |  | □ |  |  |  | □ |  | □ |  |  | Mandatory | Indoor Air Quality Management Plan | PAMC 16.14.390 |  |  |  | □ |  |  |  | □ |  | □
| Mandatory | Indoor Water Use: Kitchen faucets (1.8 gpm at 60 psi) | 5.303.3.4.2 |  |  |  | □ |  |  |  | □ |  | □ |  |  | Mandatory | Acoustical control (STC Values per ASTM E90 and ASTM E413) | 5.507.4 |  |  |  | □
| Mandatory | Indoor Water Use: Wash fountains (1.8 gpm at 60 psi) | 5.303.3.4.3 |  |  |  | □ |  |  |  | □ |  | □ |  |  | Mandatory | Exterior noise transmission, prescriptive method (with exceptions) | 5.507.4.1 |  |  |  | □
| Mandatory | Indoor Water Use: Metering faucets (0.2 gallons/ cycle) | 5.303.3.4.4 |  |  |  | □ |  |  |  | □ |  | □ |  |  | Mandatory | Noise exposure where noise contours are not readily available | 5.507.4.1.1 |  |  |  | □
| Mandatory | Indoor Water Use: Metering faucets for wash fountains (0.2 gallons/ cycle) | 5.303.3.4.5 |  |  |  | □ |  |  |  | □ |  | □ |  |  | Mandatory | Exterior noise transmission, performance method | 5.507.4.2 |  |  |  | □
| Mandatory | Commercial kitchen equipment | 5.303.4 |  |  |  | □ |  |  |  | □ |  | □ |  |  | Mandatory | Site features | 5.507.4.2.1 |  |  |  | □
| Mandatory | Food waste disposers | 5.303.4.1 |  |  |  | □ |  |  |  | □ |  | □ |  |  | Mandatory | Documentation of compliance | 5.507.4.2.2 |  |  |  | □
| Mandatory | Indoor water use: Areas of addition or alteration [AA] | 5.303.5 |  |  |  | □ |  |  |  | □ |  | □ |  |  | Mandatory | Interior sound transmission (with note) | 5.507.4.3 |  |  |  | □
| Mandatory | Dual plumbing (locally amended) | PAMC 16.12.035 |  |  |  | □ |  |  |  | □ |  | □ |  |  | Mandatory | Ozone depletion and greenhouse gas reductions | 5.508.1 |  |  |  | □
| Mandatory | Indoor Water Use: Standards for plumbing fixtures and fittings (2022 California Plumbing Code) | 5.303.6 |  |  |  | □ |  |  |  | □ |  | □ |  |  | Mandatory | Chlorofluorocarbons (CFC's) | 5.508.1.1 |  |  |  | □
| Mandatory | Outdoor potable water use in landscape areas (MWELO) | 5.304.1 |  |  |  | □ |  |  |  | □ |  | □ |  |  | Mandatory | Halons | 5.508.1.2 |  |  |  | □
| Mandatory | Recycled water supply systems | PAMC 16.12.030 |  |  |  | □ |  |  |  | □ |  | □ |  |  | Mandatory | Supermarket refrigerant leak reduction | 5.508.2 |  |  |  | □ |  |  |  | □
| Mandatory | Invasive species prohibited | PAMC 16.14.330 Section 5.304.2 |  |  |  | □ |  |  |  | □ |  | □ |  |  | Mandatory | Refrigerant piping | 5.508.2.1 |  |  |  | □ |  |  |  | □
| Mandatory | Non-residential enhanced water budget required when use > 1,000 gal/day | PAMC 16.14.340 Section 5.306 |  |  |  | □ |  |  |  | □ |  | □ |  |  | Mandatory | Refrigerant piping valves | 5.508.2.2 |  |  |  | □ |  |  |  | □
| Mandatory | Cooling Tower Water Use (locally amended) | PAMC 16.14.350 Section 5.307 |  |  |  | □ |  |  |  | □ |  | □ |  |  | Mandatory | Refrigerant piping access valves | 5.508.2.2.2 |  |  |  | □ |  |  |  | □
Electives (choose 3) | Electives | Indoor water use: 25% reduction | A5.303.2.3.3 |  |  |  | □ |  |  |  | □ |  | □ |  |  | Mandatory | Refrigerated service case | 5.508.2.3 |  |  |  | □ |  |  |  | □
| Electives | Nonpotable water systems for indoor water use | A5.303.2.3.4 |  |  |  | □ |  |  |  | □ |  | □ |  |  | Mandatory | Refrigerant receivers | 5.508.2.4 |  |  |  | □ |  |  |  | □
| Electives | Appliances and fixtures for commercial application | A5.303.3 |  |  |  | □ |  |  |  | □ |  | □ |  |  | Mandatory | Pressure testing | 5.508.2.5 |  |  |  | □ |  |  |  | □
| Electives | Nonwater supplied urinals | A5.303.4.1 |  |  |  | □ |  |  |  | □ |  | □ |  |  | Mandatory | Evacuation (after pressure testing) | 5.508.2.6 |  |  |  | □ |  |  |  | □
| Electives | Outdoor Water Use: Restoration of areas disturbed by construction | A5.304.6 |  |  |  | □ | [7 empty] | Electives (Choose 3) | Electives | Indoor air quality (IAQ) during constructions: Temporary ventilation | A5.504.1.1 |  |  |  | □ |  | □
| Electives | Outdoor Water Use: Previously developed sites: restore or protect 50 % of site area | A5.304.7 |  |  |  | □ | [8 empty] | Electives | Indoor air quality (IAQ) during constructions: Additional IAQ measures | A5.504.1.2 |  |  |  | □ |  | □
| Electives | Outdoor Water Use: Graywater irrigation system | A5.304.8 |  |  |  | □ | [8 empty] | Electives | IAQ postconstruction | A5.504.2 |  |  |  | □ |  |  |  | □
| Electives | Nonpotable water systems | A5.305.1 |  |  |  | □ | [8 empty] | Electives | IAQ testing | A5.504.2.1 |  |  |  | □ |  |  |  | □
| Electives | Irrigation system: Recycled water | A5.305.2 |  |  |  | □ |  |  |  | □ |  | □ |  |  | Electives | Maximum levels of contaminants | A5.504.2.1.1 |  |  |  | □ |  |  |  | □
5.4 Material Conservation and Resource Efficiency | [15 empty] | Electives | Test protocols | A5.504.2.1.2 |  |  |  | □ |  |  |  | □
Mandatory | Tier 2 Mand. | Recycled content: 15% | A5.405.4 |  |  |  | □ | [5 empty] | □ |  |  | Electives | Noncomplying building areas | A5.504.2.1.3 |  |  |  | □ |  |  |  | □
| Mandatory | Weather protection | 5.407.1 |  |  |  | □ |  | See Foundation Inspection checklist. | [6 empty] | Electives | Acoustical ceiling and wall panels | A5.504.4.9 |  |  |  | □ |  |  |  | □
| Mandatory | Moisture control: Sprinklers | 5.407.2.1 |  |  |  | □ | [5 empty] | □ |  |  | Electives | Hazardous particulates and chemical pollutants | A5.504.5 |  |  |  | □ |  |  |  | □
| Mandatory | Moisture control: Entries + Openings | 5.407.2.2 |  |  |  | □ | [5 empty] | □ |  |  | Electives | Entryway systems (to control pollutants) | A5.504.5.1 |  |  |  | □ |  |  |  | □
| Mandatory | Moisture control: Exterior door protection | 5.407.2.2.1 |  |  |  | □ | [5 empty] | □ |  |  | Electives | Isolation of pollutant sources (to control pollutants) | A5.504.5.2 |  |  |  | □
| Mandatory | Moisture control: Flashing | 5.407.2.2.2 |  |  |  | □ | [5 empty] | □ |  |  | Electives | Lighting and thermal comfort controls: Single occupant spaces- Lighting and Thermal Comfort | A5.507.1.1.1/A5.507.1.2 |  |  |  | □
| Mandatory | Construction waste management | 5.408.1 |  |  |  | □ | [8 empty] | Electives | Lighting and thermal comfort controls: Multi-occupant spaces | A5.507.1.2 |  |  |  | □
| Mandatory | Construction waste management plan | 5.408.1.1 |  |  |  | □ | [8 empty] | Electives | Daylight: Toplighting and sidelighting | A5.507.2 |  |  |  | □
| Mandatory | Waste management company | 5.408.1.2 |  |  |  | □ | [8 empty] | Electives | Views: Direct line of sign to outdoors: interior office spaces | A5.507.3.1 |  |  |  | □
| Mandatory | Waste stream reduction alternative | 5.408.1.3 |  |  |  | □ | [8 empty] | Electives | Views- Multi-occupant spaces | A5.507.3.2 |  |  |  | □
| Mandatory | Documentation: Construction waste management plan, waste management company, waste stream reduction alternative | 5.408.1.4 |  |  |  | □ | [8 empty] | Electives | Hydro-chlorofluorocarbons (HCFCs) (for HVAC and refrigeration equipment) | A5.508.1.3 |  |  |  | □
| Mandatory | Excavated soil and land clearing debris (100% reuse or recycle) | 5.408.3 |  |  |  | □ | [8 empty] | Electives | Hydro-fluorocarbons (HFCs) (for HVAC, refrigeration and fire suppression equipment) | A5.508.1.4 |  |  |  | □
| Tier 2 Mand. | Enhanced construction waste reduction (80% Diversion w/ job valuation >$25,000, less than $25,000 must meet state standards of 65%) | PAMC 16.14.410/ A5.408.3.1.1 |  |  |  | See www.greenhalosystems.com | [7 empty] | Required Additional Electives (Choose 3 additional Electives from any category) |  |  | A5.601.3.1
| Mandatory | Recycling by occupants (with exceptions) | 5.410.1 |  |  |  | □ | [7 empty] | Mand. | Tier 2 Mand. |  | A5.601.3.4 |  |  |  | □
| Mandatory | Commissioning (≥ 10,000 SF) [N] | 5.410.2 |  |  |  | □ |  | □ | [6 empty] | Tier 2 Mand. |  | A5.601.3.4 |  |  |  | □
| Mandatory | Commissioning plan [N] | 5.410.2.3 |  |  |  | □ | [8 empty] | Tier 2 Mand. |  | A5.601.3.4 |  |  |  | □
| Mandatory | Functional performance testing [N] | 5.410.2.4 |  |  |  | □
| Mandatory | ENERGY STAR Portfolio Manager profile setup (for projects exceeding $100,000 in value) | PAMC 16.14.360 / 5.410.4.6 |  |  |  | □
| Mandatory | Performance Review- For projects over 10,000 SF | PAMC 16.14.370 / 5.410.4.7 |  |  |  | □
| Mandatory | Performance Review (For sites > 1 acre) | PAMC 16.14.380/ 5.410.4.8 |  |  |  | □
| Mandatory | Documentation and Training: Systems manual | 5.410.2.5.1 |  |  |  | □
| Mandatory | Documentation and Training: Systems operations training [N] | 5.410.2.5.2 |  |  |  | □
| Mandatory | Commissioning report [N] | 5.410.2.6 |  |  |  | □
| Mandatory | Testing and adjusting for new buildings < 10,000 SF or new systems that serve additions or alterations [N] [AA] | 5.410.4 |  |  |  | □ |  |  |  | □
| Mandatory | Testing and adjusting for systems: Renewable energy, landscape irrigation, and water reuse | 5.410.4.2 |  |  |  | □ |  |  |  | □
| Mandatory | Testing and adjusting: Procedures | 5.410.4.3 |  |  |  | □ |  |  |  | □
| Mandatory | Testing and adjusting: HVAC balancing | 5.410.4.3.1 |  |  |  | □ |  |  |  | □
| Mandatory | Testing, adjusting and balancing: Reporting for HVAC balancing | 5.410.4.4 |  |  |  | □ |  |  |  | □
| Mandatory | Operation and maintenance (O&M) manual | 5.410.4.5 |  |  |  | □ |  |  |  | □
| Mandatory | Performance reviews- Water (sites > 1 acre) | PAMC 16.14.380/ Sect 5.410.4.8 |  |  |  | □ |  |  |  | □
| Mandatory | Inspection and reports (new buildings / additions and alterations < 10,000 SF ) [AA] + [N] | 5.410.4.5.1 |  |  |  | □ |  |  |  | □
CITY STAMPS ONLY
``
[31 empty] | 2022 NONRESIDENTIAL GREEN BUILDING APPLICATION CALGREEN MANDATORY + TIER 2 | GB-1 MANDATORY +TIER 2
Version 04/24
Application: This plan sheet is for nonresidential new construction or additions of 1,000 SF or greater.
|  |  | Title 24, Part 11, California Green Building Code (CALGreen) |  |  | https://www.dgs.ca.gov/BSC/CALGreen
|  |  | City of Palo Alto Development Center Green Building Requirements |  |  | https://www.cityofpaloalto.org/Departments/Planning-Development-Services/Development-Services/Green-Building/Compliance
|  |  | City of Palo Alto Green Building Ordinance 5570 (PAMC 16.14 Amendments) |  |  | https://codelibrary.amlegal.com/codes/paloalto/latest/paloalto_ca/0-0-0-72369
The Green Building Survey is a required project submittal. The survey can be found at the following link. The online survey shall be completed and a Green Building Survey Report will be sent in an email. Include a copy of the survey report on a separate page in this plan set. Please indicate the reference page here _____________________.
Legend:
Y - Yes; the measure is in the scope of work
N - No; the measure is not in the scope of work
PAMC - Palo Alto Municipal Code; locally amended
[N] - New Construction
[MF] - Multi-family dwellings
[AA] - Additions and alterations
[HR] - High-rise building
SECTION TO BE COMPLETED AFTER CONSTRUCTION
Special Inspector Acknowledgement
The project will be verified by a
COMMERCIAL GREEN BUILDING SPECIAL INSPECTOR
I have reviewed the project plans and specifications, and they are in conformance with the CALGreen mandatory and elective measures claimed. I have reviewed and understand the after-construction requirements below.
__________________________________________________
Signature (Green Building Special Inspector)
__________________________________________________
Print Name
__________________________________________________
Phone or Email
__________________________________________________
Date
The ENERGY STAR Portfolio Manager profile is a required project submittal and can be created at the following link. The Portfolio Manager profile shall be opened and a screenshot shall be included on a separate page in this plan set. Please indicate the reference page here __________.
For more information on energy benchmarking, please visit City of Palo Alto Utilities "Benchmarking Your Building" webpage here.
I certify that:
  CALGreen inspections were performed throughout construction.
  All mandatory CALGreen measures and required electives noted in the checklist have been implemented, unless a new checklist is provided along with support for alternative electives claimed.
  The home has met the CALGreen measures as claimed on this sheet. Those required for landscaping may be excluded from this confirmation if verified within 6 months of final inspection.
  I have thoroughly reviewed these plans and ensured all Green Building Code requirements are addressed during construction implementation and prior to signing the plans (Code of Conduct Section B1).
  I have completed field inspections diligently and accurately to ensure compliance with applicable Green Building Code requirements throughout the project (Code of Conduct Section B2).
  I have maintained open and effective communication with City staff, clients, and stakeholders (Code of Conduct Section D).
  I have maintained timely reports and furnished detailed records to the City of Palo alto Building Inspector during the Green Building Final Inspection (Code of Conduct Section C1).
  Within six months (6) from the date of final inspection I will provide the City with the project's Commissioning Report (only required for new projects over 10,000 SF) and execute compliance with landscaping measures, unless completed at the time of final inspection.
_______________________________________________
Signature (Green Building Special Inspector)
Sign only after project is complete
_______________________________________________
Print Name
_______________________________________________
Date